PART 1  GENERAL

1.01	INCLUDED SECTIONS

A.	Clearing

B.	Grubbing

C.	Disposal

D.	Field Quality Control

1.02	RELATED SECTIONS

A.	Section 024113 – Selective Site Demolition

B.	Section 312300 – Excavation and Fill

1.03	REFERENCES

A.	Washington State Department of Transportation (WSDOT) Standard Specifications for Road, Bridge, and Municipal Construction (current edition).

1.04	SUBMITTALS

A.	Haul location of all material(s) being transported off site.

PART 2  EXECUTION

3.01	EXAMINATION

A.	Inspect site to verify the extents of clearing and grubbing and notify the Engineer if there is any vegetation that is likely to be damaged during the course of clearing and grubbing that is not indicated on the plans

3.02	PREPARATION

A.	Install erosion control measures indicated on the Temporary Erosions and Sediment Control plans

3.03	CLEARING

A.	The Contractor shall fell trees indicated within the project limits.

B.	The Contractor shall protect, by fencing if necessary, all trees or native growth from any damage caused by construction operations.

3.04	GRUBBING

A.	The Contractor shall grub deep enough to remove all stumps large roots, buried logs, and other vegetative material.

B.	The Contractor shall grub all areas within the project limits as shown on the drawings.

3.05	DISPOSAL

A.	Debris from clearing including brush, trees, and other vegetation shall be hauled off site to a dump site that is approved by the Engineer.

3.06	QUALITY CONTROL

A.	The Contractor shall notify the Engineer once clearing and grubbing has been completed.  The engineer shall walk the site and approve the completion of the clearing and grubbing prior to the Contractor beginning to grade the site.

End of Section 31 11 10